**Procedure on Dry Weather Screening**

Dry weather screening takes place every year during dry weather screening outfall inspections.

Fifteen sites are evaluated and a determination is made as to whether or not the site has wet conditions that would imply that there is an illicit discharge.

If an illicit discharge is found then the stormwater coordinator would follow the procedures in place for finding and evaluating an illicit discharge.